## Cover
G4260 PROJECT SPRINGBOK - AIRCONDITIONING AND VENTILATION BOQ
|  | Quantity | Fixed | Value Related | Time Related
Section 01: Compliance with Contract
| Allow for costs directly associated with expenses to comply with the Conditions of Contract and the Main Contract Preliminaries, excluding the items detailed below | SUM | 0 | 0 | 0
| Section 02: General | SUM | 0 | 0 | 0
| Section 03: Drawings and Submissions | SUM | 0 | 0 | 0
| Section 04: Work Provided by Others | SUM | 0 | 0 | 0
| Section 05: Compliance with Standards and Regulations | SUM | 0 | 0 | 0
| Section 06: Safety | SUM | 0 | 0 | 0
| Section 07: Hoisting and Rigging | SUM | 0 | 0 | 0
| Section 08: Programming | SUM | 0 | 0 | 0
| Section 09: Contract Management | SUM | 0 | 0 | 0
| Fixed cost component | SUM | 0 | 0 | 0
| Component variable with time for completion (per month) | SUM | 0 | 0 | 0
| Section 10: Contract Management | SUM | 0 | 0 | 0
| Site Establishment | SUM | 0 | 0 | 0
| Fixed cost component | SUM | 0 | 0 | 0
| Component variable with time for completion (per month) | SUM | 0 | 0 | 0
| Travelling & Transport | SUM | 0 | 0 | 0
| Section 11: Protection Against Damage | SUM | 0 | 0 | 0
| Section 12: Access to Equipment and Systems | SUM | 0 | 0 | 0
| Section 13: Cleaning and Start-up | SUM | 0 | 0 | 0
| Section 14: Testing, Balancing, Commissioning, Operation of Plant and Handover | SUM | 0 | 0 | 0
| Section 15: Guarantee | SUM | 0 | 0 | 0
| Section 16: Quality Management System, Testing and Inspection | SUM | 0 | 0 | 0
| Section 17: Operating and Maintenance Manuals | SUM | 0 | 0 | 0
| As Built Drawings | SUM | 0 | 0 | 0
| Section 18: One Year's Maintenance | SUM | 0 | 0 | 0
| Section 19: Special Attendance | SUM | 0 | 0 | 0
| Section 20: Preparation of Pre-Start up Checklist | SUM | 0 | 0 | 0
| Section 21 : Completion of Subcontract work | SUM | 0 | 0 | 0
| SUBTOTALS FOR ABOVE | - | 0 | 0 | 0
|  |  |  | TOTAL PRELIMINARIES | 0
|  |  |  | SUBTOTAL GROUND FLOOR BOQ | 0
|  |  |  | SUBTOTAL FIRST FLOOR BOQ | 0
|  |  |  | SUBTOTAL ROOF BOQ | 0
|  |  |  | GRAND TOTAL (excl VAT) | 0

## Ground
Item | Description | Unit | Quantity | Supply Rate | Installation Rate | Amount
Drawing G4260-1001 rev A Ground Floor Layout
FANS Supply and installation of FANS c/w hangers, all as per specification.
EF 1.1 | Ø630 Axial flow fan,1440rpm, 2800l/s@350Pa | No | 1 | 0 | 0 | 0
| 1.5D pod sound attenuators | No | 2 | 0 | 0 | 0
| Electrical connection incl on/off toggle switch in kitchen | No | 1 | 0 | 0 | 0
| Flexible Collars | No | 2 | 0 | 0 | 0
EF 1.2 | CX10 Ceiling Mounted Extract Fan 97l/s @ 25Pa | No | 2 | 0 | 0 | 0
Canopy | DUCTING AND FITTINGS - UNNSULATED Supply and installation of galvanised sheet metal SANS 1850 Compliant Kitchen extract Ducting and fittings c/w hangers, all as per specification.
Rectangular Ducting, Uninsulated
| 600x400 | m2 | 18 | 0 | 0 | 0
| 900x450 | m2 | 9.45 | 0 | 0 | 0
| TRF 900x450 to 500x450 | No | 1 | 0 | 0 | 0
| 500x450 | m2 | 1.9 | 0 | 0 | 0
| Transformation 900x450 to dia 630 | No | 1 | 0 | 0 | 0
| 600x400 stopend | No | 2 | 0 | 0 | 0
| 500x450 stopend | No | 1 | 0 | 0 | 0
| 700x200 shoe | No | 4 | 0 | 0 | 0
| 700 x 200 | m2 | 14.4 | 0 | 0 | 0
Bends - 90 degrees, Uninsulated
| 900x450 | No | 2 | 0 | 0 | 0
| 600x250 | No | 4 | 0 | 0 | 0
| 700x200 | No | 4 | 0 | 0 | 0
Bends - 45 degrees, Uninsulated
| 600x400 | No | 2 | 0 | 0 | 0
Canopy | DUCTING AND FITTINGS - UNNSULATED Supply and installation of galvanised sheet metal SANS 1850 Compliant Kitchen extract Ducting and fittings c/w hangers, all as per specification.
Spiral Ducting, Uninsulated
| Ø630 | m | 2 | 0 | 0 | 0
Bends - 90 degrees, Uninsulated
| Ø630 | No | 1 | 0 | 0 | 0
| Ø630 Vertical Discharge Cowl | No | 1 | 0 | 0 | 0
FA LHS | DUCTING AND FITTINGS - UNNSULATED Supply and installation of galvanised sheet metal ducting and fittings c/w hangers, all as per specification.
Rectangular Ducting, Uninsulated
| 450x300 | m2 | 11.3 | 0 | 0 | 0
| 450x300 stopend | No | 1 | 0 | 0 | 0
| 250x250 shoe | No | 1 | 0 | 0 | 0
| 250x250 | m2 | 3.1 | 0 | 0 | 0
| TRF 250x250to 200x250 | No | 1 | 0 | 0 | 0
| 200x250 | m2 | 3.5 | 0 | 0 | 0
| 200x250 Stopend | No | 1 | 0 | 0 | 0
| 300x250 shoe | No | 1 | 0 | 0 | 0
| 300x250 | m2 | 6.6 | 0 | 0 | 0
| TRF 300x250 to 250x250 | No | 1 | 0 | 0 | 0
| 250x250 | m2 | 14 | 0 | 0 | 0
| TRF 250x250 to 200x250 | No | 1 | 0 | 0 | 0
| 200x250 | m2 | 4 | 0 | 0 | 0
| 200x550 Stopend | No | 1 | 0 | 0 | 0
Bends - 90 degrees, Uninsulated
| 450x300 | No | 1 | 0 | 0 | 0
Spigots, Uninsulated
| Ø150 | m | 43 | 0 | 0 | 0
| Ø150 90deg bend | No | 2 | 0 | 0 | 0
| Ø150 Butterfly Damper | No | 3 | 0 | 0 | 0
| Ø200 | m | 14 | 0 | 0 | 0
| Ø200 90deg bend | No | 1 | 0 | 0 | 0
| Ø200 Butterfly Damper | No | 4 | 0 | 0 | 0
Flexible Ducting, Uninsulated c/w clamps
| Ø150 x 1.5m | No | 7 | 0 | 0 | 0
| Ø200 x 1.5m | No | 4 | 0 | 0 | 0
FA RHS | DUCTING AND FITTINGS - UNNSULATED Supply and installation of galvanised sheet metal ducting and fittings c/w hangers, all as per specification.
Rectangular Ducting, Uninsulated
| 500x300 | m2 | 10.5 | 0 | 0 | 0
| 500x300 stopend | No | 1 | 0 | 0 | 0
| 300x250 shoe | No | 1 | 0 | 0 | 0
| 300x250 | m2 | 8 | 0 | 0 | 0
| 300x250 stopend | No | 1 | 0 | 0 | 0
| 300x300 shoe | No | 1 | 0 | 0 | 0
| 300x300 | m2 | 6.2 | 0 | 0 | 0
| TRF 300x300 to 200x300 | No | 1 | 0 | 0 | 0
| 200x300 | m2 | 1 | 0 | 0 | 0
| 200x300 stopend | No | 1 | 0 | 0 | 0
Bends - 90 degrees, Uninsulated
| 500x300 | No | 1 | 0 | 0 | 0
Spigots, Uninsulated
| Ø150 | m | 13 | 0 | 0 | 0
| Ø150 90deg bend | No | 2 | 0 | 0 | 0
| Ø200 | m | 15 | 0 | 0 | 0
| Ø200 90deg bend | No | 1 | 0 | 0 | 0
| Ø200 Butterfly Damper | No | 3 | 0 | 0 | 0
| Ø250 | m | 4.2 | 0 | 0 | 0
| Ø250 90deg bend | No | 1 | 0 | 0 | 0
| Ø250 Butterfly Damper | No | 1 | 0 | 0 | 0
Flexible Ducting, Uninsulated c/w clamps
| Ø150 x 1.5m | No | 1 | 0 | 0 | 0
| Ø200 x 1.5m | No | 2 | 0 | 0 | 0
AC 1.22 | DUCTING AND FITTINGS - EXTERNALLY INSULATED 25mm FRK Supply and installation of galvanised sheet metal ducting and fittings c/w hangers, all as per specification.
| 450x250 | m2 | 5.2 | 0 | 0 | 0
| TRF 450x250 to 250x250 | No | 1 | 0 | 0 | 0
| 250x250 | m2 | 2.4 | 0 | 0 | 0
| 250x250 stopend | No | 1 | 0 | 0 | 0
Spigots, Externaly insulated 25mm FRK
| Ø200 | m | 3 | 0 | 0 | 0
Flexible Ducting, Uninsulated c/w clamps
| Ø200 x 1.5m | No | 6 | 0 | 0 | 0
AC 1,23 | DUCTING AND FITTINGS - EXTERNALLY INSULATED 25mm FRK Supply and installation of galvanised sheet metal ducting and fittings c/w hangers, all as per specification.
| 250X300 | m | 1.1 | 0 | 0 | 0
| TRF 250x300 to 150x300 | No | 1 | 0 | 0 | 0
| 150x300 | m | 1.3 | 0 | 0 | 0
| 150x300 stopend | No | 1 | 0 | 0 | 0
Spigots, Externaly insulated 25mm FRK
| Ø250 | m | 2 | 0 | 0 | 0
Flexible Ducting, Uninsulated c/w clamps
| Ø250 x 1.5m | No | 2 | 0 | 0 | 0
AC 1,20 | DUCTING AND FITTINGS - EXTERNALLY INSULATED 25mm FRK Supply and installation of galvanised sheet metal ducting and fittings c/w hangers, all as per specification.
| 250X300 | m | 1.1 | 0 | 0 | 0
| TRF 250x300 to 150x300 | No | 1 | 0 | 0 | 0
| 150x300 | m | 1.3 | 0 | 0 | 0
| 150x300 stopend | No | 1 | 0 | 0 | 0
Spigots, Externaly insulated 25mm FRK
| Ø250 | m | 2 | 0 | 0 | 0
Flexible Ducting, Uninsulated c/w clamps
| Ø250 x 1.5m | No | 2 | 0 | 0 | 0
AC 1,25 | DUCTING AND FITTINGS - EXTERNALLY INSULATED 25mm FRK Supply and installation of galvanised sheet metal ducting and fittings c/w hangers, all as per specification.
| 200x300 | m2 | 1 | 0 | 0 | 0
| 200x300 stopend | No | 1 | 0 | 0 | 0
Spigots, Externaly insulated 25mm FRK
| Ø250 | m | 1 | 0 | 0 | 0
Flexible Ducting, Uninsulated c/w clamps
| Ø250 x 1.5m | No | 2 | 0 | 0 | 0
AC 1,26 | DUCTING AND FITTINGS - EXTERNALLY INSULATED 25mm FRK Supply and installation of galvanised sheet metal ducting and fittings c/w hangers, all as per specification.
| 450x250 | m2 | 1.7 | 0 | 0 | 0
| TRF 450x250 to 350x250 | No | 1 | 0 | 0 | 0
| 350x250 | m2 | 3 | 0 | 0 | 0
| TRF 350x250 to 250x250 | No | 1 | 0 | 0 | 0
| 250x250 | m2 | 3 | 0 | 0 | 0
| 250x250 stopend | No | 1 | 0 | 0 | 0
Spigots, Externaly insulated 25mm FRK
| Ø200 | m | 6 | 0 | 0 | 0
Flexible Ducting, Uninsulated c/w clamps
| Ø200 x 1.5m | No | 6 | 0 | 0 | 0
AC 1.27 | DUCTING AND FITTINGS - EXTERNALLY INSULATED 25mm FRK Supply and installation of galvanised sheet metal ducting and fittings c/w hangers, all as per specification.
| 450x250 | m2 | 5.2 | 0 | 0 | 0
| TRF 450x250 to 250x250 | No | 1 | 0 | 0 | 0
| 250x250 | m2 | 2.4 | 0 | 0 | 0
| 250x250 stopend | No | 1 | 0 | 0 | 0
Spigots, Externaly insulated 25mm FRK
| Ø200 | m | 15 | 0 | 0 | 0
Flexible Ducting, Uninsulated c/w clamps
| Ø200 x 1.5m | No | 6 | 0 | 0 | 0
AC 1,18 | DUCTING AND FITTINGS - EXTERNALLY INSULATED 25mm FRK Supply and installation of galvanised sheet metal ducting and fittings c/w hangers, all as per specification.
| 400x200 | m2 | 1.5 | 0 | 0 | 0
| TRF 400x200 to 300x200 | No | 1 | 0 | 0 | 0
| 300x200 | m2 | 1.3 | 0 | 0 | 0
| TRF 300x200 to 200x200 | No | 1 | 0 | 0 | 0
| 200x200 | m2 | 2.5 | 0 | 0 | 0
| 200x200 stopend | No | 1 | 0 | 0 | 0
Spigots, Externaly insulated 25mm FRK
| Ø200 | m | 3 | 0 | 0 | 0
Flexible Ducting, Uninsulated c/w clamps
| Ø200 x 1.5m | No | 6 | 0 | 0 | 0
AC 1,8 | DUCTING AND FITTINGS - EXTERNALLY INSULATED 25mm FRK Supply and installation of galvanised sheet metal ducting and fittings c/w hangers, all as per specification.
| 350x200 | m2 | 1.1 | 0 | 0 | 0
| TRF 350x200 to 250x200 | No | 1 | 0 | 0 | 0
| 250x200 | m2 | 1 | 0 | 0 | 0
| TRF 250x200 to 200x200 | No | 1 | 0 | 0 | 0
| 200x200 | m2 | 2 | 0 | 0 | 0
| 200x200 stopend | No | 1 | 0 | 0 | 0
Spigots, Externaly insulated 25mm FRK
| Ø150 | m | 6 | 0 | 0 | 0
Flexible Ducting, Uninsulated c/w clamps
| Ø150 x 1.5m | No | 6 | 0 | 0 | 0
AC 1,5 | DUCTING AND FITTINGS - EXTERNALLY INSULATED 25mm FRK Supply and installation of galvanised sheet metal ducting and fittings c/w hangers, all as per specification.
| 200x300 | m2 | 0.5 | 0 | 0 | 0
| TRF 200x300 to 150x300 | No | 1 | 0 | 0 | 0
| 150x300 | m2 | 0.45 | 0 | 0 | 0
| 150x300 stopend | No | 1 | 0 | 0 | 0
Spigots, Externaly insulated 25mm FRK
| Ø200 | m | 2 | 0 | 0 | 0
| Ø200 90deg bend | m | 1 | 0 | 0 | 0
Flexible Ducting, Uninsulated c/w clamps
| Ø200 x 1.5m | No | 2 | 0 | 0 | 0
AC 1,6 | DUCTING AND FITTINGS - EXTERNALLY INSULATED 25mm FRK Supply and installation of galvanised sheet metal ducting and fittings c/w hangers, all as per specification.
| 200x300 | m2 | 0.5 | 0 | 0 | 0
| TRF 200x300 to 150x300 | No | 1 | 0 | 0 | 0
| 150x300 | m2 | 0.45 | 0 | 0 | 0
| 150x300 stopend | No | 1 | 0 | 0 | 0
Spigots, Externaly insulated 25mm FRK
| Ø200 | m | 2 | 0 | 0 | 0
| Ø200 90deg bend | m | 1 | 0 | 0 | 0
Flexible Ducting, Uninsulated c/w clamps
| Ø200 x 1.5m | No | 2 | 0 | 0 | 0
AC 1,12 | DUCTING AND FITTINGS - EXTERNALLY INSULATED 25mm FRK Supply and installation of galvanised sheet metal ducting and fittings c/w hangers, all as per specification.
| 300x200 | m2 | 2.16 | 0 | 0 | 0
| TRF 300x200 to 150x200 | No | 1 | 0 | 0 | 0
| 150x200 | m2 | 2.9 | 0 | 0 | 0
| 150x200 stopend | No | 1 | 0 | 0 | 0
Bends - 90 degrees, Uninsulated
| 150x200 | No | 1 | 0 | 0 | 0
Spigots, Externaly insulated 25mm FRK
| Ø150 | m | 6.5 | 0 | 0 | 0
Flexible Ducting, Uninsulated c/w clamps
| Ø150 x 1.5m | No | 3 | 0 | 0 | 0
AC 1,17 | DUCTING AND FITTINGS - EXTERNALLY INSULATED 25mm FRK Supply and installation of galvanised sheet metal ducting and fittings c/w hangers, all as per specification.
| 200x300 | m2 | 1 | 0 | 0 | 0
| TRF 200x300 to 150x300 | No | 1 | 0 | 0 | 0
| 150x300 | m2 | 0.9 | 0 | 0 | 0
| 150x300 stopend | No | 1 | 0 | 0 | 0
Spigots, Externaly insulated 25mm FRK
| Ø250 | m | 3 | 0 | 0 | 0
| Ø250 90deg bend | No | 1 | 0 | 0 | 0
Flexible Ducting, Uninsulated c/w clamps
| Ø250 x 1.5m | No | 2 | 0 | 0 | 0
AC 1,16 | DUCTING AND FITTINGS - EXTERNALLY INSULATED 25mm FRK Supply and installation of galvanised sheet metal ducting and fittings c/w hangers, all as per specification.
| 400x200 | m2 | 1.2 | 0 | 0 | 0
| TRF 400x200 to 300x200 | No | 1 | 0 | 0 | 0
| 300x200 | m2 | 1.3 | 0 | 0 | 0
| 300x200 stopend | No | 1 | 0 | 0 | 0
Spigots, Externaly insulated 25mm FRK
| Ø200 | m | 14 | 0 | 0 | 0
| Ø200 90deg bend | No | 2 | 0 | 0 | 0
Flexible Ducting, Uninsulated c/w clamps
| Ø250 x 1.5m | No | 5 | 0 | 0 | 0
AC 1,28 | DUCTING AND FITTINGS - EXTERNALLY INSULATED 25mm FRK Supply and installation of galvanised sheet metal ducting and fittings c/w hangers, all as per specification.
| 450x250 | m2 | 1.6 | 0 | 0 | 0
| TRF 450x250 to 300x250 | No | 1 | 0 | 0 | 0
| 300x250 | m2 | 2.9 | 0 | 0 | 0
| 300x250 stopend | No | 1 | 0 | 0 | 0
Spigots, Externaly insulated 25mm FRK
| Ø200 | m | 2 | 0 | 0 | 0
Flexible Ducting, Uninsulated c/w clamps
| Ø200 x 1.5m | No | 4 | 0 | 0 | 0
Condensate Lines - As per specification
| Ø50 uPVC | m | 64 | 0 | 0 | 0
| Ø25 uPVC | m | 140 | 0 | 0 | 0
DG 1.1 | 400 x 300 Naturally anodised door grille secured with countersunk screws | No | 6 | 0 | 0 | 0
RAG 1.1 | 600 x 600 curved blade return air grille (RAL 9006), c/w filter media White | No | 15 | 0 | 0 | 0
RAG 1,2 | 1200 x 600 curved blade return air grille c/w filter media White | No | 1 | 0 | 0 | 0
RG 1,1 | 600x200 curved blade relief air grille, White | No | 7 | 0 | 0 | 0
RG 1,2 | 300x150 curved blade relief air grille, White | No | 1 | 0 | 0 | 0
RG 1,3 | 600x600 curved blade relief air grille, White | No | 1 | 0 | 0 | 0
SAG 1,1 | 700x150 Linear Strip Grille (Advantage Air or equal) c/w plenum box and OBD, White | No | 4 | 0 | 0 | 0
DIF 1.1 | Ø150 Square Ceiling Diffuser White | No | 6 | 0 | 0 | 0
DIF 1.2 | Ø200 Square Ceiling Diffuser White | No | 24 | 0 | 0 | 0
DIF 1.4 | Ø250 Square Ceiling Diffuser White | No | 12 | 0 | 0 | 0
DIF 1.7 | Ø200 Round Ceiling Diffuser White | No | 8 | 0 | 0 | 0
DV 1.1 | Ø150 Metal disc valve , white | No | 13 | 0 | 0 | 0
DV 1.2 | Ø200 Metal disc valve , white | No | 12 | 0 | 0 | 0
CAN 1.1 | 3500x2000x600 Stainless Steel BoxType Canopy c/w grease filters, vapour proof light fittings | No | 1 | 0 | 0 | 0
CAN 1.1 | Fire Supression for above | Lot | 1 | 0 | 0 | 0
AIR CONDITIONING UNITS -As per Specification
AC 1.1 | 3,6kW VRV Heat Recovery Compact Cassette Unit, Supply Air 175l/s | No | 1 | 0 | 0 | 0
AC 1.2 | 3,6kW VRV Heat Recovery Compact Cassette Unit, Supply Air 175l/s | No | 1 | 0 | 0 | 0
AC 1.3 | 2,8kW VRV Heat Recovery Compact Cassette Unit, Supply Air 166l/s | No | 1 | 0 | 0 | 0
AC 1.4 | 2,8kW VRV Heat Recovery Compact Cassette Unit, Supply Air 166l/s | No | 1 | 0 | 0 | 0
AC 1.5 | 4,5kW VRV Heat Recovery Hideaway Unit, Supply Air 208l/s | No | 1 | 0 | 0 | 0
AC 1.6 | 4,5kW VRV Heat Recovery Hideaway Unit, Supply Air 208l/s | No | 1 | 0 | 0 | 0
AC 1.7 | 2,8kW VRV Heat Recovery Compact Cassette Unit, Supply Air 166l/s | No | 1 | 0 | 0 | 0
AC 1.8 | 5,6kW VRV Heat Recovery Hideaway Unit, Supply Air 250l/s | No | 1 | 0 | 0 | 0
AC 1.9 | 2,8kW VRV Heat Recovery Compact Cassette Unit, Supply Air 166l/s | No | 1 | 0 | 0 | 0
AC 1.10 | 3,6kW VRV Heat Recovery Compact Cassette Unit, Supply Air 175l/s | No | 1 | 0 | 0 | 0
AC 1.11 | 3,6kW VRV Heat Recovery Compact Cassette Unit, Supply Air 175l/s | No | 1 | 0 | 0 | 0
AC 1.12 | 4,5kW VRV Heat Recovery Hideaway Unit, Supply Air 208l/s | No | 1 | 0 | 0 | 0
AC 1.13 | 2,8kW VRV Heat Recovery Compact Cassette Unit, Supply Air 166l/s | No | 1 | 0 | 0 | 0
AC 1.14 | 2,8kW VRV Heat Recovery Compact Cassette Unit, Supply Air 166l/s | No | 1 | 0 | 0 | 0
AC 1.15 | 2,2kW VRV Heat Recovery Compact Cassette Unit, Supply Air 150l/s | No | 1 | 0 | 0 | 0
AC 1.16 | 7,1kW VRV Heat Recovery Hideaway Unit, Supply Air 350l/s | No | 1 | 0 | 0 | 0
AC 1.17 | 4,5kW VRV Heat Recovery Hideaway Unit, Supply Air 208l/s | No | 1 | 0 | 0 | 0
AC 1.18 | 7,1kW VRV Heat Recovery Hideaway Unit, Supply Air 350l/s | No | 1 | 0 | 0 | 0
AC 1.19 | 2,2kW VRV Heat Recovery Compact Cassette Unit, Supply Air 150l/s | No | 1 | 0 | 0 | 0
AC 1.20 | 5,6kW VRV Heat Recovery Hideaway Unit, Supply Air 250l/s | No | 1 | 0 | 0 | 0
AC 1.21 | 1,5kW VRV Heat Recovery Compact Cassette Unit, Supply Air 140l/s | No | 1 | 0 | 0 | 0
AC 1.22 | 9kW VRV Heat Recovery Hideaway Unit, Supply Air 480l/s | No | 1 | 0 | 0 | 0
AC 1.23 | 5,6kW VRV Heat Recovery Hideaway Unit, Supply Air 250l/s | No | 1 | 0 | 0 | 0
AC 1.24 | 3,6kW VRV Heat Recovery Compact Cassette Unit, Supply Air 175l/s | No | 1 | 0 | 0 | 0
AC 1.25 | 4,5kW VRV Heat Recovery Hideaway Unit, Supply Air 208l/s | No | 1 | 0 | 0 | 0
AC 1.26 | 11,2kW VRV Heat Recovery Hideaway Unit, Supply Air 500l/s | No | 1 | 0 | 0 | 0
AC 1.27 | 9kW VRV Heat Recovery Hideaway Unit, Supply Air 480l/s | No | 1 | 0 | 0 | 0
AC 1.28 | 12,8kW VRV Heat Recovery Hideaway Unit, Supply Air 600l/s | No | 1 | 0 | 0 | 0
| VRV System Refrigeration Piping as per drawing, including all the necessary components for fully functional system as per the specific manaufacturers requirements and specifications | LOT |  | 0 | 0 | 0
| Cable support basket for refrigerant piping | m | 197 | 0 | 0 | 0
| 4 Port Recovery Box | No. | 1 | 0 | 0 | 0
| 6 Port Recovery Box | No. | 4 | 0 | 0 | 0
| Central Touch Screen Control | No | 1 | 0 | 0 | 0
| Hideaway Unit SA Transformation, internally insulated 25mm | No | 13 | 0 | 0 | 0
| Hideaway retrun air plenum | No | 13 | 0 | 0 | 0
| Final electrical connection for VRV Indoor Units | No | 27 | 0 | 0 | 0
| Wired Remote Controls incl control wiring | No | 27 | 0 | 0 | 0
|  | SUBTOTAL GROUND FLOOR |  |  |  | 0

## First
Item | Description | Unit | Quantity | Supply Rate | Installation Rate | Amount
G4260-1002_HVAC INSTALLATION FIRST FLOOR LAYOUT_rev A
FANS Supply and installation of FANS c/w hangers, all as per specification.
EF 2.1 | CX10 Ceiling Mounted Extract Fan 97l/s @ 25Pa | No | 8 | 0 | 0 | 0
FA RHS | DUCTING AND FITTINGS - UNNSULATED Supply and installation of galvanised sheet metal ducting and fittings c/w hangers, all as per specification.
Rectangular Ducting, Uninsulated
| 800x300 shoe | No | 1 | 0 | 0 | 0
| 800x300 | m2 | 15.7 | 0 | 0 | 0
| 800x300 stopend | No | 1 | 0 | 0 | 0
| 250x250 shoe | No | 1 | 0 | 0 | 0
| 250x250 | m2 | 0.5 | 0 | 0 | 0
| 250x250 stopend | No | 1 | 0 | 0 | 0
| 400x250 shoe | No | 1 | 0 | 0 | 0
| 400x250 | m2 | 5 | 0 | 0 | 0
| 400x250 Trouser Pice | No | 1 | 0 | 0 | 0
| 300x250 | m2 | 11.6 | 0 | 0 | 0
| TRF 300x250 to 200x250 | No | 1 | 0 | 0 | 0
| 200x250 | m2 | 5.6 | 0 | 0 | 0
| 200x250 stopend | No | 1 | 0 | 0 | 0
| 400x250 | m2 | 20 | 0 | 0 | 0
| 400x250 stopend | No | 1 | 0 | 0 | 0
Bends - 90 degrees, Uninsulated
| 400x250 | No | 1 | 0 | 0 | 0
Spigots, Uninsulated
| Ø150 | No | 11 | 0 | 0 | 0
| Ø150 Butterfly Damper | No | 2 | 0 | 0 | 0
| Ø200 | m | 7 | 0 | 0 | 0
| Ø200 45 deg bend | No | 1 | 0 | 0 | 0
| Ø200 90deg bend | No | 1 | 0 | 0 | 0
| Ø200 Butterfly damper | No | 4 | 0 | 0 | 0
Flexible Ducting, Uninsulated c/w clamps
| Ø150 x 1.5m | No | 7 | 0 | 0 | 0
| Ø200 x 1.5m | No | 4 | 0 | 0 | 0
FA LHS | DUCTING AND FITTINGS - UNNSULATED Supply and installation of galvanised sheet metal ducting and fittings c/w hangers, all as per specification.
| 600x300 shoe | No | 1 | 0 | 0 | 0
| 600x300 | m2 | 12.8 | 0 | 0 | 0
| 250x250 shoe | No | 1 | 0 | 0 | 0
| 250x250 | m2 | 10 | 0 | 0 | 0
| 250x250 stopend | No | 1 | 0 | 0 | 0
| 600x250 shoe | No | 1 | 0 | 0 | 0
| 600x250 | m2 | 8 | 0 | 0 | 0
| TRF 600x250 to 450x250 | No | 1 | 0 | 0 | 0
| 450x250 | m2 | 6.7 | 0 | 0 | 0
| TRF 450x250 to 250x250 | No | 1 | 0 | 0 | 0
| 250x250 | m2 | 3.2 | 0 | 0 | 0
| 250x250 stopend | No | 1 | 0 | 0 | 0
Spigots, Uninsulated
| Ø100 | m | 3 | 0 | 0 | 0
| Ø100 Butterfly Damper | No | 1 | 0 | 0 | 0
| Ø150 | m | 10 | 0 | 0 | 0
| Ø150 Butterfly Damper | No | 2 | 0 | 0 | 0
| Ø200 | m | 18 | 0 | 0 | 0
| Ø200 Butterfly Damper | No | 5 | 0 | 0 | 0
| Ø200 90deg bend | No | 3 | 0 | 0 | 0
Flexible Ducting, Uninsulated c/w clamps
| Ø100 x 1.5m | No | 1 | 0 | 0 | 0
| Ø150 x 1.5m | No | 2 | 0 | 0 | 0
| Ø200 x 1.5m | No | 5 | 0 | 0 | 0
AC 2.1 | DUCTING AND FITTINGS - EXTERNALLY INSULATED 25mm FRK Supply and installation of galvanised sheet metal ducting and fittings c/w hangers, all as per specification.
| 500x250 | m2 | 1.5 | 0 | 0 | 0
| TRF 500x200 to 300x250 | No | 1 | 0 | 0 | 0
| 300x250 | m2 | 1.1 | 0 | 0 | 0
| 300x250 stopend | No | 1 | 0 | 0 | 0
Spigots, Externaly insulated 25mm FRK
| Ø200 | m | 22.5 | 0 | 0 | 0
| Ø200 45deg bend | No | 1 | 0 | 0 | 0
| Ø200 90deg bend | No | 2 | 0 | 0 | 0
Flexible Ducting, Uninsulated c/w clamps
| Ø200 x 1.5m | No | 7 | 0 | 0 | 0
AC 2,2 | DUCTING AND FITTINGS - EXTERNALLY INSULATED 25mm FRK Supply and installation of galvanised sheet metal ducting and fittings c/w hangers, all as per specification.
| 500x250 | m2 | 1.5 | 0 | 0 | 0
| TRF 500x250 to 200x250 | No | 1 | 0 | 0 | 0
| 200x250 | m2 | 1.6 | 0 | 0 | 0
| 200x250 stopend | No | 1 | 0 | 0 | 0
Spigots, Externaly insulated 25mm FRK
| Ø200 | m | 21 | 0 | 0 | 0
| Ø200 90deg bend | No | 4 | 0 | 0 | 0
Flexible Ducting, Uninsulated c/w clamps
| Ø200 x 1.5m | No | 6 | 0 | 0 | 0
AC 2,3 | DUCTING AND FITTINGS - EXTERNALLY INSULATED 25mm FRK Supply and installation of galvanised sheet metal ducting and fittings c/w hangers, all as per specification.
| 350x250 | m2 | 2.3 | 0 | 0 | 0
| TRF 350x250 to 250x250 | No | 1 | 0 | 0 | 0
| 250x250 | m2 | 4.2 | 0 | 0 | 0
| 250x250 stopend | No | 1 | 0 | 0 | 0
Spigots, Externaly insulated 25mm FRK
| Ø150 | m | 10.7 | 0 | 0 | 0
| Ø150 45deg bend | m | 2 | 0 | 0 | 0
| Ø250 | m | 3 | 0 | 0 | 0
Flexible Ducting, Uninsulated c/w clamps
| Ø150 x 1.5m | No | 4 | 0 | 0 | 0
| Ø250 x 1.5m | No | 1 | 0 | 0 | 0
AC 2,6 | DUCTING AND FITTINGS - EXTERNALLY INSULATED 25mm FRK Supply and installation of galvanised sheet metal ducting and fittings c/w hangers, all as per specification.
| 400x300 | m2 | 1.9 | 0 | 0 | 0
| TRF 400x300 to 300x300 | No | 1 | 0 | 0 | 0
| 300x300 | m2 | 2.2 | 0 | 0 | 0
| TRF 300x300 to 200x300 | No | 1 | 0 | 0 | 0
| 200x300 | m2 | 4.3 | 0 | 0 | 0
| 200x300 stopend | No | 1 | 0 | 0 | 0
Spigots, Externaly insulated 25mm FRK
| Ø250 | m | 8 | 0 | 0 | 0
| Ø250 90deg bend | m | 2 | 0 | 0 | 0
Flexible Ducting, Uninsulated c/w clamps
| Ø250 x 1.5m | No | 6 | 0 | 0 | 0
AC 2,7 | DUCTING AND FITTINGS - EXTERNALLY INSULATED 25mm FRK Supply and installation of galvanised sheet metal ducting and fittings c/w hangers, all as per specification.
| 400x300 | m2 | 1.9 | 0 | 0 | 0
| TRF 400x300 to 300x300 | No | 1 | 0 | 0 | 0
| 300x300 | m2 | 2.2 | 0 | 0 | 0
| TRF 300x300 to 200x300 | No | 1 | 0 | 0 | 0
| 200x300 | m2 | 4.3 | 0 | 0 | 0
| 200x300 stopend | No | 1 | 0 | 0 | 0
Spigots, Externaly insulated 25mm FRK
| Ø250 | m | 8 | 0 | 0 | 0
| Ø250 90deg bend | m | 2 | 0 | 0 | 0
Flexible Ducting, Uninsulated c/w clamps
| Ø250 x 1.5m | No | 6 | 0 | 0 | 0
AC 2,11 | DUCTING AND FITTINGS - EXTERNALLY INSULATED 25mm FRK Supply and installation of galvanised sheet metal ducting and fittings c/w hangers, all as per specification.
| 450x250 | m2 | 1.6 | 0 | 0 | 0
| TRF 450x250 to 300x250 | No | 1 | 0 | 0 | 0
| 300x250 | m2 | 2.9 | 0 | 0 | 0
| 300x250 stopend | No | 1 | 0 | 0 | 0
Spigots, Externaly insulated 25mm FRK
| Ø200 | m | 2 | 0 | 0 | 0
Flexible Ducting, Uninsulated c/w clamps
| Ø200 x 1.5m | No | 4 | 0 | 0 | 0
DUCTING AND FITTINGS - EXTERNALLY INSULATED 25mm FRK Supply and installation of galvanised sheet metal ducting and fittings c/w hangers, all as per specification.
AC2,12 | 350x250 | m2 | 1.2 | 0 | 0 | 0
| TRF 350x350 to 250x250 | No | 1 | 0 | 0 | 0
| 250x250 | m2 | 3.5 | 0 | 0 | 0
| 250x250 stopend | No | 1 | 0 | 0 | 0
Spigots, Externaly insulated 25mm FRK
| Ø200 | m | 4 | 0 | 0 | 0
| Ø200 90deg bend | No | 2 | 0 | 0 | 0
Flexible Ducting, Uninsulated c/w clamps
| Ø200 x 1.5m | No | 4 | 0 | 0 | 0
DUCTING AND FITTINGS - EXTERNALLY INSULATED 25mm FRK Supply and installation of galvanised sheet metal ducting and fittings c/w hangers, all as per specification.
AC 2,14 | 500x250 | m2 | 7.2 | 0 | 0 | 0
| TRF 500x250 to 350x250 | No | 1 | 0 | 0 | 0
| 350x250 | m2 | 8.1 | 0 | 0 | 0
| 350x250 stopend | No | 1 | 0 | 0 | 0
Spigots, Externaly insulated 25mm FRK
| Ø200 | m | 3 | 0 | 0 | 0
Flexible Ducting, Uninsulated c/w clamps
| Ø200 x 1.5m | No | 5 | 0 | 0 | 0
DUCTING AND FITTINGS - EXTERNALLY INSULATED 25mm FRK Supply and installation of galvanised sheet metal ducting and fittings c/w hangers, all as per specification.
AC 2,15 | 500x250 | m2 | 7.2 | 0 | 0 | 0
| TRF 500x250 to 350x250 | No | 1 | 0 | 0 | 0
| 350x250 | m2 | 8.1 | 0 | 0 | 0
| 350x250 stopend | No | 1 | 0 | 0 | 0
Spigots, Externaly insulated 25mm FRK
| Ø200 | m | 3 | 0 | 0 | 0
Flexible Ducting, Uninsulated c/w clamps
| Ø200 x 1.5m | No | 5 | 0 | 0 | 0
DUCTING AND FITTINGS - EXTERNALLY INSULATED 25mm FRK Supply and installation of galvanised sheet metal ducting and fittings c/w hangers, all as per specification.
AC 2,16 | SA Plenum | No | 1 | 0 | 0 | 0
Spigots, Externaly insulated 25mm FRK
| Ø150 | m | 3 | 0 | 0 | 0
Flexible Ducting, Uninsulated c/w clamps
| Ø150 x 1,5m | No | 2 | 0 | 0 | 0
DUCTING AND FITTINGS - EXTERNALLY INSULATED 25mm FRK Supply and installation of galvanised sheet metal ducting and fittings c/w hangers, all as per specification.
AC 2,17 | 250x250 | m2 | 1 | 0 | 0 | 0
| TRF 250x250 to 200x250 | No | 1 | 0 | 0 | 0
| 200x250 | m2 | 1.6 | 0 | 0 | 0
| 200x250 stopend | No | 1 | 0 | 0 | 0
Spigots, Externaly insulated 25mm FRK
| Ø200 | m | 0.5 | 0 | 0 | 0
Flexible Ducting, Uninsulated c/w clamps
| Ø200 x 1.5m | No | 1 | 0 | 0 | 0
DUCTING AND FITTINGS - EXTERNALLY INSULATED 25mm FRK Supply and installation of galvanised sheet metal ducting and fittings c/w hangers, all as per specification.
AC 2,18 | 250x250 | m2 | 2.5 | 0 | 0 | 0
| TRF 250x250 to 200x250 | No | 1 | 0 | 0 | 0
| 200x250 | m2 | 3.7 | 0 | 0 | 0
| 250x250 stopend | No | 1 | 0 | 0 | 0
Spigots, Externaly insulated 25mm FRK
| Ø200 | m | 4 | 0 | 0 | 0
Flexible Ducting, Uninsulated c/w clamps
| Ø200 x 1.5m | No | 4 | 0 | 0 | 0
DUCTING AND FITTINGS - EXTERNALLY INSULATED 25mm FRK Supply and installation of galvanised sheet metal ducting and fittings c/w hangers, all as per specification.
AC 2,19 | 250x250 | m2 | 1 | 0 | 0 | 0
| TRF 250x250 to 200x250 | No | 1 | 0 | 0 | 0
| 200x250 | m2 | 2.6 | 0 | 0 | 0
| 200x250 stopend | No | 1 | 0 | 0 | 0
Spigots, Externaly insulated 25mm FRK
| Ø200 | m | 1 | 0 | 0 | 0
Flexible Ducting, Uninsulated c/w clamps
| Ø200 x 1.5m | No | 2 | 0 | 0 | 0
DUCTING AND FITTINGS - EXTERNALLY INSULATED 25mm FRK Supply and installation of galvanised sheet metal ducting and fittings c/w hangers, all as per specification.
AC 2,24 | 450x250 | m2 | 1.4 | 0 | 0 | 0
| TRF 450x250 to 205 250 | No | 1 | 0 | 0 | 0
| 250x250 | m2 | 3.8 | 0 | 0 | 0
| 250x250 stopend | No | 1 | 0 | 0 | 0
Spigots, Externaly insulated 25mm FRK
| Ø200 | m | 4 | 0 | 0 | 0
Flexible Ducting, Uninsulated c/w clamps
| Ø200 x 1.5m | No | 4 | 0 | 0 | 0
DUCTING AND FITTINGS - EXTERNALLY INSULATED 25mm FRK Supply and installation of galvanised sheet metal ducting and fittings c/w hangers, all as per specification.
AC 2,25 | 300x250 | m2 | 1.7 | 0 | 0 | 0
| TRF 300x250 to 200x250 | No | 1 | 0 | 0 | 0
| 200x250 | m2 | 4.2 | 0 | 0 | 0
| 200x250 stopend | No | 1 | 0 | 0 | 0
Bends - 90 degrees, Uninsulated
| 200x250 | No | 1 | 0 | 0 | 0
Spigots, Externaly insulated 25mm FRK
| Ø150 | m | 5 | 0 | 0 | 0
| Ø250 | m | 6 | 0 | 0 | 0
Flexible Ducting, Uninsulated c/w clamps
| Ø150 x 1.5m | No | 2 | 0 | 0 | 0
| Ø200 x 1.5m | No | 3 | 0 | 0 | 0
| Hideaway Unit Return Air Plenum, internally insulated 25mm | No | 15 | 0 | 0 | 0
| Hideaway Unit SA Transformation, internally insulated 25mm | No | 14 | 0 | 0 | 0
AIR CONDITIOING UNITS -As per Specification
Condensate Lines - As per specification
| Ø50 uPVC | m | 75 | 0 | 0 | 0
| Ø25 uPVC | m | 77 | 0 | 0 | 0
DG 2,1 | 400 x 300 Naturally anodised door grille secured with countersunk screws | No | 6 | 0 | 0 | 0
RAG 2,1 | 600 x 600 curved blade return air grille, c/w filter media White | No | 16 | 0 | 0 | 0
RAG 2,2 | 1200 x 600 curved blade return air grille c/w filter media White | No | 1 | 0 | 0 | 0
RG 2,1 | 600x200 curved blade relief air grille, White | No | 1 | 0 | 0 | 0
RG 2,2 | 300x150 curved blade relief air grille, White | No | 8 | 0 | 0 | 0
RG 2,3 | 600x600 curved blade relief air grille, White | No | 8 | 0 | 0 | 0
DIF 2,1 | Ø150 Square Ceiling Diffuser White | No | 8 | 0 | 0 | 0
DIF 2,2 | Ø200 Square Ceiling Diffuser White | No | 23 | 0 | 0 | 0
DIF 2,3 | Ø250 Square Ceiling Diffuser White | No | 32 | 0 | 0 | 0
SAG 2,1 | 700x150 Linear Strip Grille (Advantage Air or equal) c/w plenum box and OBD, White | No | 4 | 0 | 0 | 0
DV 2,1 | Ø150 Metal disc valve , white | No | 9 | 0 | 0 | 0
DV 2,2 | Ø200 Metal disc valve , white | No | 8 | 0 | 0 | 0
AC 2,1 | 9kW VRV Heat Recovery Hideaway Unit, Supply Air 480l/s | No | 1 | 0 | 0 | 0
AC 2,2 | 9kW VRV Heat Recovery Hideaway Unit, Supply Air 480l/s | No | 1 | 0 | 0 | 0
AC 2,3 | 7,1kW VRV Heat Recovery Hideaway Unit, Supply Air 350l/s | No | 1 | 0 | 0 | 0
AC 2,4 | 5,6kW VRV Heat Recovery Cassette Unit, Supply Air 210l/s | No | 1 | 0 | 0 | 0
AC 2,5 | 2,2kW VRV Heat Recovery Compact Cassette Unit, Supply Air 150l/s | No | 1 | 0 | 0 | 0
AC 2,6 | 12,8kW VRV Heat Recovery Hideaway Unit, Supply Air 560l/s | No | 1 | 0 | 0 | 0
AC 2,7 | 12,8kW VRV Heat Recovery Hideaway Unit, Supply Air 560l/s | No | 1 | 0 | 0 | 0
AC 2,8 | 2,2kW VRV Heat Recovery Compact Cassette Unit, Supply Air 150l/s | No | 1 | 0 | 0 | 0
AC 2,9 | 3,6kW VRV Heat Recovery Compact Cassette Unit, Supply Air 175l/s | No | 1 | 0 | 0 | 0
AC 2,10 | 3,6kW VRV Heat Recovery Compact Cassette Unit, Supply Air 175l/s | No | 1 | 0 | 0 | 0
AC 2,11 | 12,8kW VRV Heat Recovery Hideaway Unit, Supply Air 560l/s | No | 1 | 0 | 0 | 0
AC 2,12 | 7,1kW VRV Heat Recovery Hideaway Unit, Supply Air 350l/s | No | 1 | 0 | 0 | 0
AC 2,13 | 2,2kW VRV Heat Recovery Compact Cassette Unit, Supply Air 150l/s | No | 1 | 0 | 0 | 0
AC 2,14 | 12,8kW VRV Heat Recovery Hideaway Unit, Supply Air 560l/s | No | 1 | 0 | 0 | 0
AC 2,15 | 12,8kW VRV Heat Recovery Hideaway Unit, Supply Air 560l/s | No | 1 | 0 | 0 | 0
AC 2,16 | 1,7kW VRV Heat Recovery Hideaway Unit, Supply Air 90l/s | No | 1 | 0 | 0 | 0
AC 2,17 | 4,5kW VRV Heat Recovery Hideaway Unit, Supply Air 208l/s | No | 1 | 0 | 0 | 0
AC 2,18 | 5,6kW VRV Heat Recovery Hideaway Unit, Supply Air 250l/s | No | 1 | 0 | 0 | 0
AC 2,19 | 2,8kW VRV Heat Recovery Hideaway Unit, Supply Air 160l/s | No | 1 | 0 | 0 | 0
AC 2,20 | 2,8kW VRV Heat Recovery Compact Cassette Unit, Supply Air 166l/s | No | 1 | 0 | 0 | 0
AC 2,21 | 2,8kW VRV Heat Recovery Compact Cassette Unit, Supply Air 166l/s | No | 1 | 0 | 0 | 0
AC 2,22 | 3,6kW VRV Heat Recovery Compact Cassette Unit, Supply Air 175l/s | No | 1 | 0 | 0 | 0
AC 2,23 | 1,5kW VRV Heat Recovery Compact Cassette Unit, Supply Air 140l/s | No | 1 | 0 | 0 | 0
AC 2,24 | 11,2kW VRV Heat Recovery Hideaway Unit, Supply Air 500l/s | No | 1 | 0 | 0 | 0
AC 2,25 | 5,6kW VRV Heat Recovery Hideaway Unit, Supply Air 250l/s | No | 1 | 0 | 0 | 0
| VRV System Refrigeration Piping as per drawing, including all the necessary components for fully functional system as per the specific manaufacturers requirements and specifications | LOT |  | 0 | 0 | 0
| Cable support basket for refrigerant piping | m | 152 | 0 | 0 | 0
| 4 Port Recovery Box | No. | 4 | 0 | 0 | 0
| 6 Port Recovery Box | No. | 2 | 0 | 0 | 0
| Central Touch Screen Control | No | 1 | 0 | 0 | 0
| Final electrical connection for VRV Indoor Units | No | 25 | 0 | 0 | 0
| Wired Remote Controls incl control wiring | No | 25 | 0 | 0 | 0
|  |  | SUBTOTAL FIRST FLOOR |  |  | 0

## Roof
Item | Description | Unit | Quantity | Supply Rate | Installation Rate | Amount
G4260-1003_HVAC INSTALLATION FIRST FLOOR LAYOUT_rev A
FANS Supply and installation of FANS c/w hangers, all as per specification.
FF3.1 | Ø710 Axial flow fan,1440rpm, 1546l/s@300Pa | No | 1 | 0 | 0 | 0
| 1,5D pod sound attenuators | No | 2 | 0 | 0 | 0
| Variable Speed Drive | No | 1 | 0 | 0 | 0
| Electrical connection incl 7day Timer with 24hr backup battery | No | 1 | 0 | 0 | 0
| Flexible Collars | No | 2 | 0 | 0 | 0
| Unistrut mounting bracket as per drawing detail | No | 1 | 0 | 0 | 0
WL 3,1 | 1200x600 Weather Louvre c / w vermin proof wire mesh screen, naturally anodized | No | 1 | 0 | 0 | 0
| 1200 x1200 Filter plenum for 50mm washable pleated filters | No | 1 | 0 | 0 | 0
FF3.2 | Ø710 Axial flow fan,1440rpm, 2160l/s@300Pa | No | 1 | 0 | 0 | 0
| 1,5D pod sound attenuators | No | 2 | 0 | 0 | 0
| Variable Speed Drive | No | 1 | 0 | 0 | 0
| Electrical connection incl 7day Timer with 24hr backup battery | No | 1 | 0 | 0 | 0
| Flexible Collars | No | 2 | 0 | 0 | 0
| Unistrut mounting bracket as per drawing detail | No | 1 | 0 | 0 | 0
| 1200 x1200 Filter plenum for 50mm washable pleated filters | No | 1 | 0 | 0 | 0
WL 3,2 | 1200x600 Weather Louvre c / w vermin proof wire mesh screen, naturally anodized | No | 1 | 0 | 0 | 0
| 1200 x1200 Filter plenum for 50mm washable pleated filters | No | 1 | 0 | 0 | 0
FF3.1 | DUCTING AND FITTINGS - UNNSULATED Supply and installation of galvanised sheet metal ducting and fittings c/w hangers, all as per specification.
Rectangular Ducting, Uninsulated
| 400x350 (riser) | m2 | 3.6 | 0 | 0 | 0
| TRF 400x350 to 750x400 | No | 1 | 0 | 0 | 0
| 750x400 (riser) | m2 | 5.6 | 0 | 0 | 0
Bends - 90 degrees, Uninsulated
| 400x350 | No | 1 | 0 | 0 | 0
| 750x450 | No | 1 | 0 | 0 | 0
DUCTING AND FITTINGS - INTERNALLY INSULATED 25mm FRK Supply and installation of galvanised sheet metal ducting and fittings c/w hangers, all as per specification.
Rectangular Ducting
| 750X400 | m2 | 11.5 | 0 | 0 | 0
| STR 750X400 to dia710 | No | 1 | 0 | 0 | 0
Bends - 45 degrees
| 750X450 | No | 2 | 0 | 0 | 0
FF3.2 | DUCTING AND FITTINGS - UNNSULATED Supply and installation of galvanised sheet metal ducting and fittings c/w hangers, all as per specification.
Rectangular Ducting, Uninsulated
| 400x400 (riser) | m2 | 3.9 | 0 | 0 | 0
| TRF 400x400 to 800x400 | No | 1 | 0 | 0 | 0
| 850x450 (riser) | m2 | 6 | 0 | 0 | 0
Bends - 90 degrees, Uninsulated
| 400x400 | No | 1 | 0 | 0 | 0
| 850x450 | No | 1 | 0 | 0 | 0
DUCTING AND FITTINGS - INTERNALLY INSULATED 25mm FRK Supply and installation of galvanised sheet metal ducting and fittings c/w hangers, all as per specification.
Rectangular Ducting
| 850x450 | m2 | 13 | 0 | 0 | 0
| STR 850X450 to dia710 | No | 1 | 0 | 0 | 0
Bends - 90 degrees
| 850x450 | No | 2 | 0 | 0 | 0
AIR CONDITIOING UNITS -As per Specification
AC 3.1 | 122kW VRV Heat Recovery Outdoor Unit (Ground Floor) | No | 1 | 0 | 0 | 0
AC 3.2 | 144kW VRV Heat Recovery Outdoor Unit (First Floor) | No | 1 | 0 | 0 | 0
| VRV System Refrigeration Piping as per drawing, including all the necessary components for fully functional system as per the specific manaufacturers requirements and specifications | LOT | 1 | 0 | 0 | 0
| Galvanised trunking with cover support basket for refrigerant piping on roof | m | 30 | 0 | 0 | 0
| Final electrical connection for VRV Outdoor Units | No | 3 | 0 | 0 | 0
| VRV Outdoor Unit Unistrut Mounting Frame as per drawings | No | 3 | 0 | 0 | 0
| Communication cable from outdoor unit to indoor units incl. installation and connections. | m | 250 | 0 | 0 | 0
| Refrigerant, as per suppliers recommendation | kg |  | 0 | 0 | 0
| Service & Cleaning of 2 OFF Existing Toilet Extract Fans ( assumed operational) | No | 2 | 0 | 0 | 0
| Shop Drawings | LOT | 1 | 0 | 0 | 35000
| Tests & Inspections | LOT | 1 | 0 | 0 | 25000
| Engineering Services | LOT | 1 | 0 | 0 | 25000
[5 empty] | SUBTOTAL ROOF | 0